## Slide 1
Address |  | 001
Sequence |  | 
Point |  | 
SET Time(m) |  | 
MS | TS | 
Connect
Port | 
Baud | 9600
Status | Update rate(s) | 60 | update | update now
Source |  |  |  | 
Diluted Gases |  |  |  | PPB
 | Control | Monitor | Monitor | 
Diluent MFC |  |  | 1.780 | SLPM
Source MFC |  |  | 10.7 | SCCM
Total Flow |  |  | 1765 | SLPM
Capture data | 
times(s): | 60
File name: | 
Start | 
00 : 00 | 
Initial
Command LIST |  | Start
 | command | rest time(m)
-> | @TS, 001,C4H8,1 | --
 | @MS,001,C4H8,12 | 30
 | @MS,001,C4H8,10 | 20
 | @MS,001,C4H8,15 | 10
Stop |  | 
Clear list |  | 

## Slide 2
Command LIST |  | Start
 | command | rest time(m)
-> | @TS, 001,C4H8,1 | --
 | @MS,001,C4H8,12 | 30
 | @MS,001,C4H8,10 | 20
 | @MS,001,C4H8,15 | 10
Stop |  | 
Clear list |  | 
Address |  | 001
Sequence |  | C4H8
Point |  | 15
SET Time(m) |  | 10
MS | TS | 
Connect
Port | 18
Baud | 9600
Connect & Set command list
Status | Update rate(s) | 60 | update | update now
Source | -- |  |  | 
Diluted Gases | 0 |  |  | PPB
 | Control | Monitor | Monitor | 
Diluent MFC | 0 | 0 | 1.780 | SLPM
Source MFC | 0 | 0 | 10.7 | SCCM
Total Flow | 0 | 0 | 1765 | SLPM
Capture data | 
times(s): | 60
File name: | 
20250116 | 
Start | 
00 : 00 | 

## Slide 3
Command LIST |  | Start
 | command | rest time(m)
 | @TS, 001,C4H8,1 | --
-> | @MS,001,C4H8,12 | 30
 | @MS,001,C4H8,10 | 20
 | @MS,001,C4H8,15 | 10
Stop |  | 
Clear list |  | 
Address |  | 001
Sequence |  | C4H8
Point |  | 15
SET Time(m) |  | 10
MS | TS | 
Connect
Port | 18
Baud | 9600
Status | Update rate(s) | 60 | update | update now
Source | C4H8 |  |  | 
Diluted Gases | 30318 |  |  | PPB
 | Control | Monitor | Monitor | 
Diluent MFC | 1.782 | 1.780 | 1.780 | SLPM
Source MFC | 10.8 | 10.7 | 10.7 | SCCM
Total Flow | 1.792 | 1.790 | 1765 | SLPM
Capture data | 
times(s): | 60
File name: | 
20250116 | 
Stop | 
30 : 00 | 
Start

## Slide 4
Connect :
send”@S,addr”，如果回傳ack表示連線成功，如果回傳nak表示連線失敗
Addr/baud/update rate:
預設001/9600/60
TS:
add “TS,addr,seq,point” to command list，不能設定時間，time為無效值
MS:
add “MS,addr,seq,point” to command list
Command list:
按start之前可只接更改，start後鎖住，最多30個(滑桿)

## Slide 5
Start(Command list):
按start後 Command list 從頭開始執行，TS、MS、reset list、Command list被鎖住
Stop (Command list):
send”@S,addr”，可隨時停止動作，游標重置
Clear list:
list沒有在執行時可按下Clear list，重新輸入，此時游標也會回到第一個位置

## Slide 6
Status:
Gas Concentration Data(@GS,001,G)
1765: total flow (SLPM)(monitor)
CO: source
30318: Diluted Gases (ppb)
Dilution Data(@GS,001,D)
1.782: Diluent MFC(SLPM)(control)
1.780: Diluent MFC (SLPM)(monitor)
10.8: Source MFC (SCCM)(control)
10.7: Source MFC (SCCM)(monitor)
* 無法直接獲取total flow的設定值，可在程式內做計算(Diluent MFC+ Source MFC/1000)